SAFETY

# Hot work permit

The permit for welding, cutting and other hot work: the area inspected, combustibles within 35 feet removed or protected, a fire watch, and a final check after the work ends.

How often: Each job   ·   Who: Permit issuer and fire watch   ·   About 10 min   ·   14 items

| Site or area |  | Date and time |  |
| --- | --- | --- | --- |
| Asset or line |  | Completed by |  |

Before you use it

- OSHA 29 CFR 1910.252(a)(2)(iv) requires the area to be inspected by the person responsible for authorizing welding and cutting, who designates the precautions, preferably in a written permit.

- A fire watch is required where more than a minor fire might develop, for example when appreciable combustibles are closer than 35 feet, and it stays for at least half an hour after the work ends (1910.252(a)(2)(iii)).

- Combustible material on the floor is swept clean for a 35-foot radius (1910.252(a)(2)(v)). Add your site’s and your insurer’s own hot work rules.

## Job

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 1 | Scan the work location’s tag | Visited |  |
| 2 | Location and equipment |  |  |
| 3 | Work | Welding Cutting Grinding Brazing or soldering |  |
| 4 | Permit valid from and to |  |  |

## Precautions

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 5 | Area inspected by the person authorizing the work | Pass Fail N/A |  |
| 6 | Combustibles within 35 feet removed or covered with fire-resistant shields | Pass Fail N/A |  |
| 7 | Floor swept clean within 35 feet; combustible floors wet or covered | Pass Fail N/A |  |
| 8 | Wall and floor openings within 35 feet covered | Pass Fail N/A |  |
| 9 | Fire extinguisher at the work location | Pass Fail N/A |  |

## Fire watch

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 10 | Fire watch assigned, with an extinguisher and trained to use it | Pass Fail N/A |  |
| 11 | Fire watch kept at least 30 minutes after the work ended | Pass Fail N/A |  |
| 12 | Time of the final check |  |  |

## Sign-off

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 13 | Permit issuer | Name ______________________________ Signature ______________________________ Date ______________________________ |  |
| 14 | Fire watch | Name ______________________________ Signature ______________________________ Date ______________________________ |  |

## Follow-up

For each failed check or reading out of limit: what was found, what was done, and the work order raised for it.

| NO. | WHAT WAS FOUND | ACTION OR WORK ORDER | OWNER | DUE |
| --- | --- | --- | --- | --- |

## References

- OSHA 29 CFR 1910.252, welding, cutting and brazing: general requirements

Free to use and adapt. To run it on mobile, with checkpoint scans, readings checked against their limits as they are entered, and photos and signatures attached to the check, see vardian.io/templates/hot-work-permit.