SAFETY

# Scaffold inspection checklist

The competent person’s check before each work shift: footing, frame, planking, guardrails and access, with the scaffold’s tag status and a sign-off.

How often: Before each work shift   ·   Who: Competent person   ·   About 10 min   ·   16 items

| Site or area |  | Date and time |  |
| --- | --- | --- | --- |
| Asset or line |  | Completed by |  |

Before you use it

- OSHA 29 CFR 1926.451(f)(3) requires scaffolds and their components to be inspected for visible defects by a competent person before each work shift, and after anything that could affect the scaffold’s structural integrity.

- Under 1926.451(f)(4), a part damaged or weakened below the required strength is repaired or replaced, braced, or taken out of service until it is repaired.

- Adjust the list to the scaffold type, such as supported, mobile or suspended, and use the tag colors your site already uses.

## Scaffold

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 1 | Scan the scaffold’s tag | Visited |  |
| 2 | Location and scaffold type |  |  |

## Foundation and structure

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 3 | Base plates and mud sills on firm, level ground | Pass Fail N/A |  |
| 4 | Uprights plumb; braces and ties in place | Pass Fail N/A |  |
| 5 | Couplers, pins and connections secure | Pass Fail N/A |  |
| 6 | No bent, cracked or corroded components | Pass Fail N/A |  |

## Working platform and access

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 7 | Platform fully planked or decked | Pass Fail N/A |  |
| 8 | Planks secured and free of cracks | Pass Fail N/A |  |
| 9 | Guardrails, midrails and toeboards on open sides | Pass Fail N/A |  |
| 10 | Safe access by ladder, stair or built-in access | Pass Fail N/A |  |
| 11 | Clear of debris, ice and loose material | Pass Fail N/A |  |

## Surroundings

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 12 | Clearance from power lines kept | Pass Fail N/A |  |
| 13 | Area below barricaded where people could be struck | Pass Fail N/A |  |

## Result

| NO. | ITEM | RESULT | NOTES |
| --- | --- | --- | --- |
| 14 | Tag status | Safe for use Use with restrictions Do not use |  |
| 15 | Photo of any defect | Photo taken |  |
| 16 | Competent person | Name ______________________________ Signature ______________________________ Date ______________________________ |  |

## Follow-up

For each failed check or reading out of limit: what was found, what was done, and the work order raised for it.

| NO. | WHAT WAS FOUND | ACTION OR WORK ORDER | OWNER | DUE |
| --- | --- | --- | --- | --- |

## References

- OSHA 29 CFR 1926.451, scaffolds: general requirements

Free to use and adapt. To run it on mobile, with checkpoint scans, readings checked against their limits as they are entered, and photos and signatures attached to the check, see vardian.io/templates/scaffold-inspection-checklist.